IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Bryan Co. Rural Water Dist. #2 Did Not Meet Treatment Requirements.  Our water system recently violated drinking water requirements. Although this was not an emergency and does not require that you take immediate action, as our customers, you have a right to know what happened, what you should do and what we have done to correct this situation.

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply.  Water samples for September 2015 showed that seven percent (7%) of turbidity measurements were over 0.3 turbidity units – the standard is that no more than five percent (5%) of samples exceed 0.3 turbidity units per month.

What does this mean?  This is not an emergency.  If it had been, you would have been notified within 24 hours.  Turbidity has no health effects.  However, turbidity can interfere with disinfection and provide a medium for microbial growth.  Turbidity may indicate the presence of disease causing organisms.  The organisms include bacteria, viruses and parasites, which can cause symptoms such as nausea, cramps, diarrhea and associated headaches.  These symptoms are not only caused by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.

What should I do?  There is nothing you need to do.  You do not need to boil your water or take other corrective actions.  However, if you have specific health concerns, a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking the water.  General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at 1-800-426-4791.

What is being done?  We enforced more extensive treatment practices and this problem was resolved within 24 hours.  The source water has since returned to more acceptable parameters for treatment.

Please share this information with all other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. For more information, please contact Regina Clinton, Mgr, at (580) 924-8517, P. O. Box 119, Mead, OK 73449. This notice is sent to you Bryan Co. R.W.D. #2, PWSID #OK1010604, NOV#: P-1010604-15-5 on December 30, 2015.